## Slide 1: Read Me: AS Simulator for GIT
Ian McFarlane
2020-09-17
UC Berkeley
Landry Lab

## Slide 2: The Project
Start by opening the project file
  “AS Simulator for GIT.lvproj”
There are three steps you will need to perform to use this system
  Simulate the Media
  Simulate the Detector
  Plot the Data

## Slide 3: Step 1: Simulate the Media
In this virtual folder are two Vis
  The thing to run: “RunSimulationBattery-Media.vi”
  The primary subVI: “SimulationEngine-Media.vi”

## Slide 4: Step 1: Simulate the Media
Input the conditions for the simulation
Then run (ctrl-R)

## Slide 5: Step 1: Simulate the Media
In this example only a small amount of parameter space is explored

## Slide 6: Step 2: Simulate the Detector
In this virtual folder are two Vis
  The thing to run: “RunSimulationBattery-Detector.vi”
  The primary subVI: “ClassifyExitPhoton.vi”

## Slide 7: Step 2: Simulate the Detector
Input the conditions for the simulation
Then run (ctrl-R)

## Slide 8: Step 2: Simulate the Detector
In this example only a wide parameter space is explored quickly because the data produced was so limited

## Slide 9: Step 3: Plot the Data
In this virtual folder are two Vis
  Explore all microscope objectives: “GraphBuilderGUI – 6Dsupported.vi”
  Explore a single microscope objective: “GraphBuilderGUI – 4Dsupported.vi”

## Slide 10: Step 3: Plot the Data
Select the axes to view, then scroll to explore the data